

CITY OF SANTA ANA

Public Works Agency

Water Quality & Measurement Control

220 S. Daisy Avenue, Building A

Santa Ana, CA 92703

#### BACKFLOW PREVENTION DEVICE TEST AND MAINTENANCE REPORT

|  |  |
| --- | --- |
| Facility Name |  |
| Service Address |  |
| Owner’s Address |  |
| City-State-Zip |  |  |  | Assembly Info |
| Location |  | SN [ ]  |  |
| Contract Name |  |  |  | Mfg [ ]  |  |
|  |  |  |  | Type [ ]  |  |
|  |  | Emergency Ph: |  | Size [ ]  |  |
|  |  |  |  | Model [ ]  |  |
| [ ]  Meter Protection | [ ]  Irrigation |  [ ]  Fire Line |  [ ]  Other |  |
|  |  |
| Line pressure at time of test: \_\_\_\_\_\_\_\_\_\_\_\_\_\_ | **REPORT OF TEST RESULTS** |
|  | Check Valve #1 | Check Valve #2 | Relief Valve | PVB/SVB | Shut Off Valves |
|  |  |  |  |  |  |  |  |
|  | [ ]  Held at | [ ]  Held at | [ ]  Opened at | [ ]  Air Inlet Opened at |  | #1 | #2 |
| **Initial** | \_\_\_\_\_\_\_\_ PSID | \_\_\_\_\_\_\_\_\_\_\_ PSID | \_\_\_\_\_\_\_\_\_ PSID |  \_\_\_\_\_\_\_\_\_ PSID |  |  |  |
| **Test** | [ ]  Closed Tight | [ ]  Closed Tight |  | [ ]  Did not Open | Closed Tight | [ ]  | [ ]  |
|  | [ ]  Failed | [ ]  Failed | [ ]  Did Not Open | [ ]  Check Held at | Leaked | [ ]  | [ ]  |
|  | [ ]  Leaked | [ ]  Leaked |  | \_\_\_\_\_\_\_\_\_\_ PSID |  |  |  |
|  |  |  |  | [ ]  Failed |  |  |  |
|  |  |  |  | [ ]  Leaked |  |  |  |
|  |  |  |  |  |  |  |  |
|  | [ ]  CLEANED | [ ]  CLEANED | [ ]  CLEANED | [ ]  CLEANED | CLEANED | [ ]  | [ ]  |
|  | REPLACED | REPLACED | REPLACED | REPLACED | REPLACED | [ ]  | [ ]  |
| R | [ ]  Disc | [ ]  Disc | [ ]  Disc | [ ]  Air Inlet Disc | REPAIR | [ ]  | [ ]  |
| **E** | [ ]  Spring | [ ]  Spring | [ ]  Spring | [ ]  Air Inlet Spring |  |  |  |
| **P** | [ ]  Guide | [ ]  Guide | [ ]  Diaphragm | [ ]  Check Disc |  |  |  |
| **A** | [ ]  Seat | [ ]  Seat | [ ]  Seat | [ ]  Check Spring |  |  |  |
| **I** | [ ]  Hinge Pin | [ ]  Hinge Pin | [ ]  O-Ring(s) | [ ]  Float |  |  |  |
| R | [ ]  Diaphragm | [ ]  Module  | [ ]  Module  | [ ]  Diaphragm |  |  |  |
|  | [ ]  Module  |  |  |  |  |  |  |
|  | [ ]  \_\_\_\_\_\_\_\_\_ | [ ]  \_\_\_\_\_\_\_\_\_\_\_ | [ ]  \_\_\_\_\_\_\_\_\_ | [ ]  \_\_\_\_\_\_\_\_\_\_\_ | Other | [ ]  | [ ]  |
|  | Other/Notes: |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
| Final | \_\_\_\_\_\_\_\_PSID | \_\_\_\_\_\_\_\_\_\_PSID | [ ]  Opened at | Air Inlet\_\_\_\_\_\_\_PSID |  |  |  |
| **Test** | [ ]  Closed Tight | [ ]  Closed Tight | \_\_\_\_\_\_\_\_PSID | CK Valve \_\_\_\_\_PSID | Closed Tight | [ ]   | [ ]  |

**THE ABOVE REPORT IS CERTIFIED TO BE TRUE:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Initial Test By: | Certificate | Date: | Time In: | Company | Business License | Phone: |
| Final Test By: |  |  |  |  |  |  |
| Repaired By: |  |  |  |  |  |  |

revised: